## SampleLog
Project | Station ID | Glider Deployment | Deployment or Recovery | Date UTC | Time UTC | Lat (degrees N) | Lat (decimal minutes) | Lon (degrees E) | Lon (decimal minutes) | Sample # | Cast # | Niskin # | Collection method | Water Column location | Sample Bottle Size (mL) | Sample notes | Depth (m) | Temp (degC) | Sal (psu) | Average pH (25degC) | pH Stdev | Average TA (umol/kg) | TA Stdev (umol/kg) | Average DIC (umol/kg) | DIC Stdev (umol/kg) | pH_from_DIC_TA_total_25C | pH(measured-calculated) | pH_flag | analysis notes | Shipped to SBU
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:25 | 40 | 22.914 | -73 | 51.178 | RMI-RU-245 | 1 | 1 | rosette | bottom | 500 | rosette | 14 | 6.8342 | 30.8078 |  |  | 2069.8704 |  | 1893.6334 |  | 7.8871 | 0.02833 | 1 |  | yes
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:25 | 40 | 22.914 | -73 | 51.178 | RMI-RU-246 | 1 | 1 | rosette | bottom | 500 | rosette | 14 | 6.8342 | 30.8078 | 7.9154 | 0.0007 | [8 empty] | yes
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:25 | 40 | 22.914 | -73 | 51.178 | RMI-RU-247 | 1 | 3 | rosette | thermocline | 500 | rosette | 7 | 8.2328 | 28.7053 |  |  | 2078.2044 |  | 1906.4402 |  | 7.9039 | 0.01704 | 1 |  | yes
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:25 | 40 | 22.914 | -73 | 51.178 | RMI-RU-248 | 1 | 3 | rosette | thermocline | 500 | rosette | 7 | 8.2328 | 28.7053 | 7.9209 | 0.0002 | [8 empty] | yes
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:25 | 40 | 22.914 | -73 | 51.178 | RMI-RU-249 | 2 | 1 | single_niskin | surface | 500 | single niskin | 2 | 9.7958 | 26.1554 |  |  | 2059.6346 |  | 1890.7246 |  | 7.9362 | -0.0088094 | 1 |  | yes
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:25 | 40 | 22.914 | -73 | 51.178 | RMI-RU-250 | 2 | 1 | single_niskin | surface | 500 | single niskin | 2 | 9.7958 | 26.1554 | 7.9274 | 0.0002 | [8 empty] | yes
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:45 | 40 | 22.914 | -73 | 51.178 | RMI-RU-251 | 3 | 1 | single_niskin | thermocline | 500 | single niskin | 7 | 8.2328 | 28.7053 |  |  | 2069.2087 |  | 1919.6107 |  | 7.8494 | 0.021226 | 1 |  | yes
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:45 | 40 | 22.914 | -73 | 51.178 | RMI-RU-252 | 3 | 1 | single_niskin | thermocline | 500 | single niskin | 7 | 8.2328 | 28.7053 | 7.8706 | 0.0001 | [8 empty] | yes
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:55 | 40 | 22.914 | -73 | 51.178 | RMI-RU-253 | 4 | 1 | single_niskin | bottom | 500 | single niskin | 14 | 6.8342 | 30.8078 |  |  | 2217.546 |  | 2084.4229 |  | 7.762 | -0.0077238 | 1 |  | yes
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:55 | 40 | 22.914 | -73 | 51.178 | RMI-RU-254 | 4 | 1 | single_niskin | bottom | 500 | single niskin | 14 | 6.8342 | 30.8078 | 7.7542 | 0.0003 | [8 empty] | yes
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 18:05 | 40 | 22.914 | -73 | 51.178 | RMI-RU-255 | 5 | 1 | single_niskin | surface | 500 | single niskin | 2 | 9.7958 | 26.1554 |  |  | 2060.5105 |  | 1901.2387 |  | 7.9118 | -0.0067663 | 1 |  | yes
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 18:05 | 40 | 22.914 | -73 | 51.178 | RMI-RU-256 | 5 | 1 | single_niskin | surface | 500 | single niskin | 2 | 9.7958 | 26.1554 | 7.905 | 0.0005 | [8 empty] | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-257 | 1 | 5 | rosette | surface | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | 2 | 14.6979 | 30.8573 |  |  | 2151.8905 |  | 1978.0787 |  | 7.8698 | 0.001642 | 1 |  | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-258 | 1 | 5 | rosette | surface | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | 2 | 14.6979 | 30.8573 | 7.8714 | 0.0002 | [8 empty] | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-259 | 1 | 3 | rosette | thermocline | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | 8 | 14.4185 | 31.1082 |  |  | 2160.3907 |  | 1991.6018 |  | 7.8535 | -0.0012788 | 1 |  | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-260 | 1 | 3 | rosette | thermocline | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | 8 | 14.4185 | 31.1082 | 7.8523 | 0.0002 | [8 empty] | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-261 | 1 | 2.1 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 12.4562 | 32.174 |  |  | 2207.097 |  | 2066.3523 |  | 7.7657 | -0.0014517 | 1 |  | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-262 | 1 | 2.1 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 12.4562 | 32.174 | 7.7643 | 0.0003 | [8 empty] | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-263 | 1 | 2.2 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 12.4562 | 32.174 |  |  | 2206.8977 |  | 2067.6138 |  | 7.762 | 0.0090576 | 1 |  | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-264 | 1 | 2.2 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 12.4562 | 32.174 | 7.7711 | 0.0003 | [8 empty] | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-265 | 1 | 1.1 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 12.4562 | 32.174 |  |  | 2209.8275 |  | 2072.5992 |  | 7.7565 | -0.0042703 | 1 |  | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-266 | 1 | 1.1 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 12.4562 | 32.174 | 7.7522 | 0.0004 | [8 empty] | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-267 | 1 | 1.2 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 12.4562 | 32.174 |  |  | 2210.6446 |  | 2076.202 |  | 7.7492 | 0.0027209 | 1 |  | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-268 | 1 | 1.2 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 12.4562 | 32.174 | 7.7519 | 0.0003 | [8 empty] | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-269 | 3 | 1 | single_niskin | surface | 500 | rosette bottles didn't close, so collected this sample immediately after rosette on board with single_niskin; ctd data from ctd profile not bottle file. CTD was on rosette | 2 | 14.8284 | 30.6187 |  |  | 2150.2861 |  | 1975.0612 |  | 7.8765 | 0.0015691 | 1 |  | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-270 | 3 | 1 | single_niskin | surface | 500 | rosette bottles didn't close, so collected this sample immediately after rosette on board with single_niskin; ctd data from ctd profile not bottle file. CTD was on rosette | 2 | 14.8284 | 30.6187 | 7.8781 | 0.0003 | [8 empty] | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-271 | 3 | 3 | rosette | thermocline | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | 8 | 14.4033 | 30.9907 |  |  | 2158.886 |  | 1992.2174 |  | 7.8502 | 0.0053476 | 1 |  | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-272 | 3 | 3 | rosette | thermocline | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | 8 | 14.4033 | 30.9907 | 7.8555 | 0.0002 | [8 empty] | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-273 | 3 | 2.1 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 13.2047 | 32.188 |  |  | 2173.3951 |  | 2016.2966 |  | 7.81 | 0.0081345 | 1 |  | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-274 | 3 | 2.1 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 13.2047 | 32.188 | 7.8181 | 0.0004 | [8 empty] | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-275 | 3 | 2.2 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 13.2047 | 32.188 |  |  | 2170.5252 |  | 2013.8241 |  | 7.8094 | 0.014175 | 1 |  | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-276 | 3 | 2.2 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 13.2047 | 32.188 | 7.8235 | 0.0003 | [7 empty] | Bottle had large headspace. | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-277 | 3 | 1.1 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 13.2047 | 32.188 | [10 empty] | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-278 | 3 | 1.1 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 13.2047 | 32.188 | [10 empty] | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-279 | 3 | 1.2 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 13.2047 | 32.188 | [10 empty] | yes
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-280 | 3 | 1.2 | rosette | bottom | 500 | ctd data from ctd profile not bottle file. CTD was on rosette. Collected 4 sample bottles from one niskin to assess water sampling technique | 14 | 13.2047 | 32.188 | [10 empty] | yes
RMI | RMI 2025 Summer Deployment Tank Test |  | tank_test | 2025-07-15 | 18:30 | 40 | 28.76 | -74 | 13.23 | RMI-RU-281 |  |  |  |  | 500 |  | 0 | 23.206 | 30.07 | [10 empty] | yes
RMI | RMI 2025 Summer Deployment Tank Test |  | tank_test | 2025-07-15 | 18:30 | 40 | 28.76 | -74 | 13.23 | RMI-RU-282 |  |  |  |  | 500 |  | 0 | 23.206 | 30.07 | [10 empty] | yes
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 16:40 | 40 | 21.93 | -73 | 53.134 | RMI-RU-283 | 1 | 1.1 | single_niskin | surface | 500 | Collected water for one extra bottle per niskin (3 instead of 2) to assess sampling technique | 4 | 24.59 | 29.24 | [10 empty] | yes
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 16:40 | 40 | 21.93 | -73 | 53.134 | RMI-RU-284 | 1 | 1.1 | single_niskin | surface | 500 | Collected water for one extra bottle per niskin (3 instead of 2) to assess sampling technique | 4 | 24.59 | 29.24 | [10 empty] | yes
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 16:40 | 40 | 21.93 | -73 | 53.134 | RMI-RU-285 | 1 | 1.2 | single_niskin | surface | 500 | Collected water for one extra bottle per niskin (3 instead of 2) to assess sampling technique | 4 | 24.59 | 29.24 | [10 empty] | yes
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 16:50 | 40 | 21.918 | -73 | 53.228 | RMI-RU-286 | 2 | 1.1 | single_niskin | bottom | 500 | Collected water for one extra bottle per niskin (3 instead of 2) to assess sampling technique | 16 | 16.8 | 31.58 | [10 empty] | yes
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 16:50 | 40 | 21.918 | -73 | 53.228 | RMI-RU-287 | 2 | 1.1 | single_niskin | bottom | 500 | Collected water for one extra bottle per niskin (3 instead of 2) to assess sampling technique | 16 | 16.8 | 31.58 | [10 empty] | yes
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 16:50 | 40 | 21.918 | -73 | 53.228 | RMI-RU-288 | 2 | 1.2 | single_niskin | bottom | 500 | Collected water for one extra bottle per niskin (3 instead of 2) to assess sampling technique | 16 | 16.8 | 31.58 | [10 empty] | yes
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 17:00 | 40 | 21.944 | -73 | 53.312 | RMI-RU-289 | 3 | 1.1 | single_niskin | surface | 500 | Collected water for one extra bottle per niskin (3 instead of 2) to assess sampling technique | 4 | 24.59 | 29.24 | [10 empty] | yes
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 17:00 | 40 | 21.944 | -73 | 53.312 | RMI-RU-290 | 3 | 1.1 | single_niskin | surface | 500 | Collected water for one extra bottle per niskin (3 instead of 2) to assess sampling technique | 4 | 24.59 | 29.24 | [10 empty] | yes
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 17:00 | 40 | 21.944 | -73 | 53.312 | RMI-RU-291 | 3 | 1.2 | single_niskin | surface | 500 | Collected water for one extra bottle per niskin (3 instead of 2) to assess sampling technique | 4 | 24.59 | 29.24 | [10 empty] | yes
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 17:10 | 40 | 21.987 | -73 | 53.381 | RMI-RU-292 | 4 | 1.1 | single_niskin | bottom | 500 | Collected water for one extra bottle per niskin (3 instead of 2) to assess sampling technique | 16 | 16.8 | 31.58 | [10 empty] | yes
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 17:10 | 40 | 21.987 | -73 | 53.381 | RMI-RU-293 | 4 | 1.1 | single_niskin | bottom | 500 | Collected water for one extra bottle per niskin (3 instead of 2) to assess sampling technique | 16 | 16.8 | 31.58 | [10 empty] | yes
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 17:10 | 40 | 21.987 | -73 | 53.381 | RMI-RU-294 | 4 | 1.2 | single_niskin | bottom | 500 | Collected water for one extra bottle per niskin (3 instead of 2) to assess sampling technique | 16 | 16.8 | 31.58 | [10 empty] | yes
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:42 | 39 | 18.354 | -74 | 20.068 | RMI-RU-295 | 1 | 1 | rosette | bottom | 500 |  | 10 | 23.7641 | 31.2343 | [10 empty] | yes
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:42 | 39 | 18.354 | -74 | 20.068 | RMI-RU-296 | 1 | 1 | rosette | bottom | 500 |  | 10 | 23.7641 | 31.2343 | [10 empty] | yes
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:42 | 39 | 18.354 | -74 | 20.068 | RMI-RU-297 | 1 | 2 | rosette | surface | 500 |  | 2 | 24.1586 | 31.0857
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:42 | 39 | 18.354 | -74 | 20.068 | RMI-RU-298 | 1 | 2 | rosette | surface | 500 |  | 2 | 24.1586 | 31.0857
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:55 | 39 | 18.328 | -74 | 20.117 | RMI-RU-299 | 2 | 1 | rosette | bottom | 500 |  | 10 | 23.7811 | 31.2142
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:55 | 39 | 18.328 | -74 | 20.117 | RMI-RU-300 | 2 | 1 | rosette | bottom | 500 |  | 10 | 23.7811 | 31.2142
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:55 | 39 | 18.328 | -74 | 20.117 | RMI-RU-301 | 2 | 2 | rosette | surface | 500 |  | 2 | 24.164 | 30.9244
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:55 | 39 | 18.328 | -74 | 20.117 | RMI-RU-302 | 2 | 2 | rosette | surface | 500 |  | 2 | 24.164 | 30.9244