## SampleLog
Project | Station ID | Glider Deployment | Deployment or Recovery | Date UTC | Time UTC | Lat (degrees N) | Lat (decimal minutes) | Lon (degrees E) | Lon (decimal minutes) | Sample # | Cast # | Niskin # | Collection method | Sample Bottle Size (mL) | Sample notes | Shipped to SBU | Depth (m) | Temp (degC) | Sal (psu) | Average pH (25degC) | pH Stdev | Average TA (umol/kg) | TA Stdev (umol/kg) | Average DIC (umol/kg) | DIC Stdev (umol/kg) | pH_from_DIC_TA_total_25C | pH(measured-calculated) | pH_flag | analysis notes
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:25 | 40 | 22.914 | -73 | 51.178 | RMI-RU-245 | 1 | 1 | rosette | 500 | rosette | yes | 14 | 6.8342 | 30.8078
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:25 | 40 | 22.914 | -73 | 51.178 | RMI-RU-246 | 1 | 1 | rosette | 500 | rosette | yes | 14 | 6.8342 | 30.8078
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:25 | 40 | 22.914 | -73 | 51.178 | RMI-RU-247 | 1 | 3 | rosette | 500 | rosette | yes | 7 | 8.2328 | 28.7053
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:25 | 40 | 22.914 | -73 | 51.178 | RMI-RU-248 | 1 | 3 | rosette | 500 | rosette | yes | 7 | 8.2328 | 28.7053
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:25 | 40 | 22.914 | -73 | 51.178 | RMI-RU-249 | 2 | 1 | single_niskin | 500 | single niskin | yes | 2 | 9.7958 | 26.1554
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:25 | 40 | 22.914 | -73 | 51.178 | RMI-RU-250 | 2 | 1 | single_niskin | 500 | single niskin | yes | 2 | 9.7958 | 26.1554
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:45 | 40 | 22.914 | -73 | 51.178 | RMI-RU-251 | 3 | 1 | single_niskin | 500 | single niskin | yes | 7 | 8.2328 | 28.7053
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:45 | 40 | 22.914 | -73 | 51.178 | RMI-RU-252 | 3 | 1 | single_niskin | 500 | single niskin | yes | 7 | 8.2328 | 28.7053
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:55 | 40 | 22.914 | -73 | 51.178 | RMI-RU-253 | 4 | 1 | single_niskin | 500 | single niskin | yes | 14 | 6.8342 | 30.8078
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 17:55 | 40 | 22.914 | -73 | 51.178 | RMI-RU-254 | 4 | 1 | single_niskin | 500 | single niskin | yes | 14 | 6.8342 | 30.8078
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 18:05 | 40 | 22.914 | -73 | 51.178 | RMI-RU-255 | 5 | 1 | single_niskin | 500 | single niskin | yes | 2 | 9.7958 | 26.1554
RMI | RMI 2025 Spring Deployment | ru39-20250423T1535 | deployment | 2025-04-23 | 18:05 | 40 | 22.914 | -73 | 51.178 | RMI-RU-256 | 5 | 1 | single_niskin | 500 | single niskin | yes | 2 | 9.7958 | 26.1554
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-257 | 1 | 5 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 2 | 14.6979 | 30.8573
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-258 | 1 | 5 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 2 | 14.6979 | 30.8573
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-259 | 1 | 3 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 8 | 14.4185 | 31.1082
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-260 | 1 | 3 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 8 | 14.4185 | 31.1082
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-261 | 1 | 2 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 12.4562 | 32.174
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-262 | 1 | 2 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 12.4562 | 32.174
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-263 | 1 | 2 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 12.4562 | 32.174
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-264 | 1 | 2 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 12.4562 | 32.174
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-265 | 1 | 1 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 12.4562 | 32.174
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-266 | 1 | 1 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 12.4562 | 32.174
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-267 | 1 | 1 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 12.4562 | 32.174
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 16:22 | 39 | 15.118 | -74 | 24.123 | RMI-RU-268 | 1 | 1 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 12.4562 | 32.174
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-269 | 3 | 1 | single_niskin | 500 | rosette bottles didn't close, so collected this sample immediately after rosette on board with single_niskin; ctd data from ctd profile not bottle file. CTD was on rosette | yes | 2 | 14.8284 | 30.6187
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-270 | 3 | 1 | single_niskin | 500 | rosette bottles didn't close, so collected this sample immediately after rosette on board with single_niskin; ctd data from ctd profile not bottle file. CTD was on rosette | yes | 2 | 14.8284 | 30.6187
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-271 | 3 | 3 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 8 | 14.4033 | 30.9907
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-272 | 3 | 3 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 8 | 14.4033 | 30.9907
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-273 | 3 | 2 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 13.2047 | 32.188
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-274 | 3 | 2 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 13.2047 | 32.188
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-275 | 3 | 2 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 13.2047 | 32.188
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-276 | 3 | 2 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 13.2047 | 32.188
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-277 | 3 | 1 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 13.2047 | 32.188
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-278 | 3 | 1 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 13.2047 | 32.188
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-279 | 3 | 1 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 13.2047 | 32.188
RMI | RMI 2025 Spring Recovery | ru39-20250423T1535 | recovery | 2025-05-20 | 17:25 | 39 | 15.23 | -74 | 25.279 | RMI-RU-280 | 3 | 1 | rosette | 500 | ctd data from ctd profile not bottle file. CTD was on rosette | yes | 14 | 13.2047 | 32.188
RMI | RMI 2025 Summer Deployment Tank Test |  | tank_test | 2025-07-15 | 18:30 |  |  |  |  | RMI-RU-281 |  |  |  | 500 |  | yes | 0 | 23.206 | 30.07
RMI | RMI 2025 Summer Deployment Tank Test |  | tank_test | 2025-07-15 | 18:30 |  |  |  |  | RMI-RU-282 |  |  |  | 500 |  | yes | 0 | 23.206 | 30.07
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 16:40 | 40 | 21.93 | -73 | 53.134 | RMI-RU-283 | 1 | 1 | single_niskin | 500 |  | yes | 4 | 24.59 | 29.24
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 16:40 | 40 | 21.93 | -73 | 53.134 | RMI-RU-284 | 1 | 1 | single_niskin | 500 |  | yes | 4 | 24.59 | 29.24
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 16:40 | 40 | 21.93 | -73 | 53.134 | RMI-RU-285 | 1 | 1 | single_niskin | 500 |  | yes | 4 | 24.59 | 29.24
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 16:50 | 40 | 21.918 | -73 | 53.228 | RMI-RU-286 | 2 | 1 | single_niskin | 500 |  | yes | 16 | 16.8 | 31.58
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 16:50 | 40 | 21.918 | -73 | 53.228 | RMI-RU-287 | 2 | 1 | single_niskin | 500 |  | yes | 16 | 16.8 | 31.58
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 16:50 | 40 | 21.918 | -73 | 53.228 | RMI-RU-288 | 2 | 1 | single_niskin | 500 |  | yes | 16 | 16.8 | 31.58
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 17:00 | 40 | 21.944 | -73 | 53.312 | RMI-RU-289 | 3 | 1 | single_niskin | 500 |  | yes | 4 | 24.59 | 29.24
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 17:00 | 40 | 21.944 | -73 | 53.312 | RMI-RU-290 | 3 | 1 | single_niskin | 500 |  | yes | 4 | 24.59 | 29.24
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 17:00 | 40 | 21.944 | -73 | 53.312 | RMI-RU-291 | 3 | 1 | single_niskin | 500 |  | yes | 4 | 24.59 | 29.24
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 17:10 | 40 | 21.987 | -73 | 53.381 | RMI-RU-292 | 4 | 1 | single_niskin | 500 |  | yes | 16 | 16.8 | 31.58
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 17:10 | 40 | 21.987 | -73 | 53.381 | RMI-RU-293 | 4 | 1 | single_niskin | 500 |  | yes | 16 | 16.8 | 31.58
RMI,NJDEP | RMI 2025 Summer Deployment | ru39-20250716T1542,ru32-20250716T1541 | deployment | 2025-07-16 | 17:10 | 40 | 21.987 | -73 | 53.381 | RMI-RU-294 | 4 | 1 | single_niskin | 500 |  | yes | 16 | 16.8 | 31.58
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:42 | 39 | 18.354 | -74 | 20.068 | RMI-RU-295 | 1 | 1 | rosette | 500 |  | yes | 10
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:42 | 39 | 18.354 | -74 | 20.068 | RMI-RU-296 | 1 | 1 | rosette | 500 |  | yes | 10
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:42 | 39 | 18.354 | -74 | 20.068 | RMI-RU-297 | 1 | 2 | rosette | 500 |  |  | 2
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:42 | 39 | 18.354 | -74 | 20.068 | RMI-RU-298 | 1 | 2 | rosette | 500 |  |  | 2
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:55 | 39 | 18.328 | -74 | 20.117 | RMI-RU-299 | 2 | 1 | rosette | 500 |  |  | 10
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:55 | 39 | 18.328 | -74 | 20.117 | RMI-RU-300 | 2 | 1 | rosette | 500 |  |  | 10
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:55 | 39 | 18.328 | -74 | 20.117 | RMI-RU-301 | 2 | 2 | rosette | 500 |  |  | 2
RMI | RMI 2025 Summer Recovery | ru39-20250716T1542 | recovery | 2025-08-11 | 14:55 | 39 | 18.328 | -74 | 20.117 | RMI-RU-302 | 2 | 2 | rosette | 500 |  |  | 2
[10 empty] | RMI-RU-303 |  |  | rosette | 500
[10 empty] | RMI-RU-304 |  |  | rosette | 500
[10 empty] | RMI-RU-305 |  |  | rosette | 500
[10 empty] | RMI-RU-306 |  |  | rosette | 500